## Slide 1
The Future of Percutaneous Treatment For Mitral Valve Disease
E Murat Tuzcu, MD
Professor of Medicine
Chief Academic Officer
Chief, Cardiovascular Medicine
Cleveland Clinic Abu Dhabi
No financial COI

## Slide 4: Degenerative Mitral Valve Repair: 10 year Outcome
Gillinov et al, The Journal of Thoracic and Cardiovascular Surgery, 1998
100
95
90
85
80
75
0
1
2
3
4
5
6
7
8
9
10
Interval (years) after repair
Percent Free of Reoperation
98.7%
96.9%
92.9%
(830)
(534)
(283)
(185)
(83)
100
95
90
85
80
75
0
1
2
3
4
5
6
7
8
9
10
Interval (years) after repair
Percent of Patients in Each Category
Alive without reoperation
Death before reoperation
Reoperation

## Slide 5: MV Surgery: Impact ofAge and Comorbidities
Mehta et al. Ann Thorac Surg 2002;74:1459-67
Older age associated w/
  Higher mortality (x3)
  Higher morbidity (x3)
  Longer LOS (x1.5)
Characteristics | < 50 yrs | 50-59 yrs | 60-69 yrs | 70-79 yrs |  80 yrs
Sample Size | 4315 | 5037 | 8472 | 11144 | 2720
Complications (%) | 13.51 | 17.79 | 23.11 | 29.47 | 35.48
Permanent stroke(%) | 1.23 | 1.79 | 2.70 | 4.16 | 4.52
Reoperation for bleeding (%) | 3.75 | 4.61 | 5.21 | 6.74 | 8.53
Renal failure (%) | 3.87 | 5.74 | 8.23 | 11.28 | 15.22
Deep sternal wound infection (%) | 0.44 | 0.75 | 0.74 | 0.68 | 0.51
Length of stay (d) |  |  |  |  | 
Mean (SD) | 11.43 (12.23) | 12.36 (13.52) | 13.32 (13.20) | 15.18 (14.66) | 16.31 (14.13)
Postoperative length of stay (d) |  |  |  |  | 
Mean(SD) | 8.71 (9.74) | 9.69 (11.04) | 10.58 (11.37) | 12.21 (13.11) | 13.22 (13.17)
Operative mortality (%) | 4.08 | 5.46 | 7.91 | 12.19 | 16.99
Outcomes
Notes: 4
4
This is the Bulleted List slide.
To create this particular slide, click the NEW SLIDE button on your toolbar and choose the BULLETED LIST format. (Top row, second from left)
The Sub-Heading and footnote will not appear when you insert a new slide. If you need either one, copy and paste it from the sample slide.
If you choose not to use a Sub-Heading, let us know when you hand in your presentation for clean-up and we’ll adjust where the bullets begin on your master page.
Also, be sure to insert the presentation title onto the BULLETED LISTMASTER as follows:
Choose View / Master / Slide Master from your menu.
Select the text at the bottom of the slide and type in a short version of your presentation title.
Click the SLIDE VIEW button in the lower left hand part of your screen to return to the slide show. (Small white rectangle)

## Slide 6: Outcome of Mitral Valve Repair Functional vs. Degenerative
Myxomatous
Rheumatic
FMR
DiBardino DJ, J Thorax Cardiovascular Surg. 2010; 139(1):76-83

## Slide 7: The MitraClip System
Gripper
Arm
MitraClip Device (Clip)
Clip Delivery System
MitraClip System
Delivery
Catheter
Handle
Stabilizer
Steerable Guide Handle
Steerable Guide, Steerable Sleeve, and Delivery Catheter
MitraClip Device (Clip)
Notes: 6

## Slide 8
Kaplan-Meier Freedom From Mortality
EVEREST II RCT
93.7% 92.3%
1 year
81.2% 79.0%
5 years
MitraClip (N=178)
Surgery (N=80)
Mauri et al. JACC 2013;62:2013-17

## Slide 9
78.9% 97.4%
1 year
74.3% 92.5%
5 years
MitraClip (N=178)
Surgery (N=80)
Kaplan-Meier Freedom From MV Surgery in MitraClip Group or Re-operation in Surgery Group
EVEREST II RCT
Mauri et al. JACC 2013;62:2013-17

## Slide 10: NYHA Functional Class EVEREST II RCT All Treated Patients (N=258)
MitraClip (N=178)
NYHA I/II at 1 and 5 Years
II
IV
III
III
II
II
I
I
II
IV
III
Surgery (N=80)
NYHA I/II at 1 and 5 Years
II
IV
III
III
II
II
I
I
II
IV
III
98%
91%
88%
98%
I
I
I
I
p < 0.005
p < 0.005
p < 0.005
p < 0.005
Baseline
1 Year
N=151
Baseline
5 Years
N=106
Baseline
1 Year
N=66
Baseline
5 Years
N=42
N = survivors with paired data; p-values for descriptive purposes only

## Slide 11
430 patients at up to 75 US sites
Randomize 1:1
Clinical and TTE follow-up:
Baseline, Treatment, 1-week (phone), 1, 6, 12,
18, 24, 36, 48, 60 months
Control group
Standard of care
N=215
Symptomatic heart failure subjects who are treated per standard of care
Determined by the site’s local heart team as not appropriate for mitral valve surgery
Specific valve anatomic criteria
MitraClip
N=215
Significant FMR (≥3+ by core lab)
COAPT Trial
  10 EP: CHF hospitalizations (Effectiveness) + Safety 10 EPs

## Slide 12
CARILLON Mitral Contour System
Coronary Sinus- Indirect Annuloplasty

## Slide 13: “Surgical Results Delivered Via Catheter”
Standard Annuloplasty
(open heart surgery)
Cardioband percutaneously implanted
in a pig
TEE patient
TEE Commercial band
Notes: Show model
12

## Slide 14: Percutaneous Direct Annuloplasty with the Adjustable Cardioband
FIM procedure (F. Maisano)
  Surgical band delivered via transfemoral venous access
  Implanted on the supra-annular position, similar to the surgical treatment
  Bi-lateral controlled adjustment of the posterior annulus for optimal hemodynamic results

## Slide 15: Transcatheter Mitral Valve Replacement
Maisano EHJ 2015
TA
Tat
TS

## Slide 16
TENDYNE
Porcine leaflets
Anatomically (D) shaped
Nitinol, self-expanding
Large outer frame
Valve tether to apex

## Slide 17
TENDYNE

## Slide 18
TENDYNE

## Slide 19
TENDYNE

## Slide 21: TMVR - Tendyne Feasibility Study
Outcome | N=30
Death (all cause) | 1 (3.3%)
Cardiac | 0 (0%)
Non-cardiac | 1 (3.3%)
CVA | 0 (0%)
MV surgery | 0 (0%)
Re-hospitalisation | 
Heart failure | 4 (13.8%)
LVAD/transplant | 0 (0%)
Other (ileus) | 1 (3.3%)
Device-related | 
Hemolysis, transfusion | 1 (3.3%)
Leaflet thrombosis | 1 (3.3%)
Muller D. TCT 2016

## Slide 22
Leaflet Restriction
Apical
Tethering
Posterior
Tethering
Mitral Valve Size (cm2)
4.0
5.0
6.0
Valve Replacement
Leaflet Repair
Annuloplasty
+
Leaflet Repair
FUNCTIONAL MITRAL VALVE DISEASE
Annuloplasty
Valve Replacement
Tuzcu and Kapadia EHJ 2016

## Slide 23
Calcific Mitral Stenosis
Guerrero TCT 2015

## Slide 24
Transcatheter Mitral Valve Replacement
Valve in Ring (Edwards Sapien)

## Slide 25
Transcatheter Mitral Valve Replacement
Valve in Valve (Direct Flow Medical)
Left atrium
Left ventricle

## Slide 26: TMVR ViV and ViR Procedural characteristics
 | Total n=437 | Mitral Valve-in-Valve n=349 | Mitral Valve-in-Ring n=88 | P Value
Major stroke | 2.5% | 2.9% | 1.1% | 0.33
Acute kidney injury (VARC II/III) | 14.4% | 10.6% | 29.5% | <0.001
30-day Death | 8.5% | 7.7% | 11.4% | 0.15
30-day Cardiovascular death | 6.9% | 6% | 10.2% | 0.62
Dvir TCT 2015

## Slide 27: TMVR - Challenges
Varied pathophysiology
A range of annulus sizes
Differing degrees of Ca
Complex 3-D annulus
Complex sub-valvar tissue
LV size, geometry, Fx varies
A dynamic high pressure environment
Safe and accurate implantation
Fixation issues, migration
LVOT obstruction
Paravalvar leaks
Areas of stasis, thrombotic risk
Impact on subvalvar apparatus and LV
Safe and accurate implantation